## Final (2)
NAME OF WORK: UPPER KOLAB PUMP STORAGE PROJECT (600MW)
Bidder Name :
| Laboratory Tests on representative samples |  |  | Rate per sample | Cost
A | Rock Mechanics Samples | No. of Samples per rock type (A) | Rock Type (B) | Rate per sample (C) | =AxBxC
1 | Water content, Porosity, Density and related properties of rock material | 1 | 2 |  | 0
2 | Hardness | 1 | 2 |  | 0
3 | Slake Durability Index | 1 | 2 |  | 0
4 | Dynamic Modulus (P-wave & S-wave velocity) | 1 | 2 |  | 0
5 | Point load index (diameteral and axial) | 1 | 2 |  | 0
6 | Strength and Deformability in Uniaxial Condition | 1 | 2 |  | 0
7 | Indirect Tensile Strength (Brazilian) | 1 | 2 |  | 0
8 | Tri-Axial Shear Test for Shear Strength Parameters | 1 | 2 |  | 0
| Total A |  |  |  | 0
B | Coarse Aggregate | No. of Samples per rock type (A) | Rock Type (B) | Rate per sample (C) | =AxBxC
1 | Specific gravity | 1 | 2
2 | Water absorption | 1 | 2
3 | Aggregate Impact value | 1 | 2
4 | Aggregate Crushing value | 1 | 2
5 | Aggregate Abrasion value (Los Angeles) | 1 | 2
6 | Soundess loss | 1 | 2
7 | Petrographic Test | 1 | 2
8 | Potential Alkali Silica reactivity test (Mortar Bar Method as per ASTM C 1260)/ Alkali Carbonate test | 1 | 2
| Total B |  |  |  | 0
C | Fine Aggregate | No. of Sample per quarry site (A) | No .of quarry site (B) | Rate per sample ( C) | =AxBxC
1 | Specific gravity | 1 | 2
2 | Fineness Modulus and zoning | 1 | 2
3 | Material finer than 75µ | 1 | 2
4 | Organic impurities | 1 | 2
5 | Mica content | 1 | 2
6 | Soundess bar | 1 | 2
7 | Petrographic Test | 1 | 2
8 | Potential Alkali Silica reactivity test (Mortar Bar Method as per ASTM C 1260)/ Alkali Carbonate test | 1 | 2
| Total C |  |  |  | 0
D | Water | No of samples per possible location | No of location for water source | Rate per sample | =AxBxC
|  | (A) | (B) | (C)
1 | Acidity | 1 | 2
2 | Alkalinity
3 | Organic Solids
4 | Inorganic Solid
5 | Sulphates (as SO3)
6 | Chloride (as CI)
7 | Suspended Matter
8 | pH value
| Total D |  |  |  | 0
E | Rockfill Material | No. of Sample per quarry site | No .of quarry site | Rate per sample | =AxBxC
|  | (A) | (B) | (C)
1 | Large Size Triaxial Shear Test (Rockfill Material ) for Stress-strain volume change behaviour and evaluate the shear strength parameters i.e. angle of shearing resistance, Φ and cohesion, c required for designing the cofferdams | 1 | 1
2 | Specific gravity and relative density Test | 1 | 1
3 | Deformability and permeability | 1 | 1
4 | Field GSD (grain size distribution) test for prototype and modeled material GSD curve, Breakage Factor – Based on pre and post-tests grain size distribution curves | 1 | 1
| Total E |  |  |  | 0
F | Soil Investigation from Borrow Area | No. of Sample per quarry site | No .of quarry site | Rate per sample | =AxBxC
|  | (A) | (B) | (C)
1 | Mechanical Analysis and Atterberg Limits ( Liquid Limit, Plastic Limit, Plasticity Index), Shrinkage Limit, Swelling Index; Soil classification | 1 | 2
2 | Standard Proctor Compaction Tests | 1 | 2
3 | Specific gravity | 1 | 2
4 | Triaxial Tests ( Consolidated Undrained) with Pore water Pressure measurement | 1 | 2
5 | One Dimensional Consolidation Test | 1 | 2
6 | Lab Premeability Tests | 1 | 2
7 | Soil Dispersivity Identification Tests with Crumb, SCS Double Hydrometer, Pin Hole, Pore water Extract Analysis etc.) | 1 | 2
8 | Chemical Analysis of Soil ( PH, Total Soluble Salts, Calcium carbonate, Water Soluble Sulphate, Water Soluble Chloride, total solid etc | 1 | 2
| Total F |  |  |  | 0
| Total (A+B+C+D+E+F) |  |  |  | 0
GST
| Grand Total |  |  |  | 0